## Slide 1: Industrial Instrumentation

## Slide 2
Well type manometer

## Slide 3: Inclined tube manometer

## Slide 4: Ring Balance Manometer

## Slide 6: Barometer

## Slide 7: Problem.

## Slide 9
Elastic pressure elements
The natural elastic properties of the element will produce a motion proportional to the applied pressure.

## Slide 10
Bellows
Increasing pressure inside a bellows unit causes it to elongate
Materials of Construction: Brass, stainless steel, beryllium copper, Monel, bronze, copper, Inconel, Ni-Span
Bellows-type sensing elements are for low to intermediate pressures

## Slide 11: Absolute pressure measurement

## Slide 12
Differential pressure measurement using bellows

## Slide 13: SPRING LOADED BELLOWS

## Slide 14
Under the influence of internal pressure, a bourdon tube “tries” to straighten out.
C-type Bourdon tube
Most pressure gauges use a bourdon tube as their pressure-sensing element. Most pressure transmitters use a diaphragm as their pressure-sensing element
Sensing elements for the measurements of medium to high pressures
Materials of Construction: Phosphor bronze, alloy steel, 316 and 403 stainless steel, beryllium copper, Monel,
Ni-Span C
Minimum span 15 PSI (100 kPa); maximum span 100,000 PSI (690 MPa)

## Slide 17
Spiral type bourdon tube

## Slide 18: Helical type

## Slide 19
Diaphragm or capsule
Materials of Construction: Buna-N, nylon, Inconel, Ni-Span C, phosphor bronze, 316 stainless steel, beryllium
copper, Monel, brass, titanium, tantalum, Hastelloy, nickel,
Range: Absolute pressure ranges from 0–5 mmHg to 0–50 PSIA (0–0.7 to 0–350 kPa); gauge pressure ranges from 0–0.5 in. H2O to 0–200 PSIG (0–0.12 kPa to 0–1.4 MPa).

## Slide 22
Applications of pressure gauges

## Slide 25: Differential pressure measurement

## Slide 26
Electrical type pressure measurement devices
conversion of fluid pressure into an electrical signal

## Slide 27: Potentiometric transducer

## Slide 28
The potentiometric pressure sensor provides a simple method for obtaining an electronic output from a mechanical pressure gauge. The device consists of a precision potentiometer, whose wiper arm is mechanically linked to a Bourdon or bellows element.
Potentiometer Pressure Transducers Working PrincipleAn increase in pressure makes the bourdon tube straighten out partially. This motion causes the linkage to move the wiper across the winding on potentiometer as the wiper moves; it increases the resistance between terminals A and B which is equal to the pressure sensed by the bourdon tube.

## Slide 29
Potentiometric Pressure Transducers Advantages
Provide strong output so no need of additional amplifierThey have high range and have high ruggednessThey have simple instrumentation, have high electrical efficiency and are inexpensive
Disadvantages
Potentiometer pressure transducers have finite resolution, limited life and large sizeThey have poor frequency to response and have tendency to develop noise

## Slide 30: Piezoresistive (strain gauge )sensors

## Slide 33: LVDT for pressure measurements

## Slide 34: LVDT for pressure measurements

## Slide 35: Capacitive pressure transducer