## Slide 1: Basic Electrical Technology
TUTORIAL (L01 – L08)

## Slide 2: Q1
Determine the resistance between A and B in the network shown below
Ans: RAB = 33.33 Ω
Notes: 100/3 or 33.33 ohms

## Slide 3: Q2
Determine the resistance between A and B in the network shown below
Ans: RAB = 2 Ω
Notes: 100/3 or 33.33 ohms

## Slide 4: Q3
A network of 9 conductors connects 6 points A, B, C, a, b & c as shown. The figure denotes resistances in ohms. Find
The resistance between B & b
The resistance between b & c (small)
The resistance between B & c (small)
The resistance between B & C (caps)
Answer :
1 Ω
7/12 Ω
13/12 Ω
7/12 Ω

## Slide 5: Q4
For the circuit shown below, obtain a single voltage source in series with a resistance across the output terminals by applying source transformation technique
Ans: 8.25V; 2.25 Ω
Notes: 8.25V; 2.25 ohms

## Slide 6: Q5
Find the current through 8Ω resistor by source transformation method, in the circuit shown below
Ans: 150 mA
Notes: 8.25V; 2.25 ohms

## Slide 7: Q6
Using node voltage method find the current flowing through 5 Ω resistor. Also find the potential difference between A & B.
Verify your answer using mesh current method.
Answer : I5Ω = 0.58 A
VA VB = 3.97 V

## Slide 8: Q7
For an electric network, a set of node voltage equations in matrix form is given below. Construct the network taking into account the fact that between nodes 2 and 3 there is a practical voltage source of emf 32 V and internal resistance as derived from the equations below.
Network:
A
B
C
D

## Slide 9: Q8
Find the voltage across 5Ω resistor using mesh current analysis
Ans: 0.714V
Notes: 100/3 or 33.33 ohms

## Slide 10: Q9
Determine the power consumed by 5Ω resistor by node voltage analysis
Ans: 2.81W
Notes: 100/3 or 33.33 ohms

## Slide 12: Q10
Using mesh current method, find the current delivered by 6 V voltage source in the circuit below
Ans: 2.073 A
Notes: 100/3 or 33.33 ohms

## Slide 13: Q11
For the circuit shown in the figure, determine the node voltages 𝑉1, 𝑉2, 𝑉3 using node voltage analysis. Also, find the power dissipated in 20 Ω resistor
P20Ω = 0.2142 W
Notes: 100/3 or 33.33 ohms

## Slide 14: Q12
Using mesh current analysis, determine the power dissipated by 4Ω resistor connected between node A & B
Ans: P4Ω = 8.1633 W

## Slide 15: Q13
What is the potential difference between points X and Y? Which point is positive with respect to the other- X or Y?
Ans:
Y is 3.7 V positive w.r.t. X

## Slide 16: Q14
In the figure shown below replace the network to the left of terminals A & B by its Thevenin equivalent circuit. Hence, determine I
Answer: Rth = 3 Ω,
Vth = 20 V
I = -2 A

## Slide 17: Q15
Using Superposition theorem, find the value of Vs if the current in 4 Ω is 0.515 A and the direction is as shown in the diagram below.
Ans: 16 V

## Slide 18: Q16
Find the value of R such that maximum power is transferred to 8 Ω resistor.
Ans: 20 Ω

## Slide 19: Q18
Figure below shows the plot of current through a series R-L circuit when a constant voltage of magnitude 50 V is applied to it. Calculate the values of resistance R and inductance L .
Ans: R = 5 Ω,
L = 1.5 H

## Slide 20: Q19
For the circuit shown in figure below, the switch S has been closed for a long time and then opens at .
Find,
Answers:
.... Initial condition: At t = 0,

## Slide 21: Q20
For the circuit shown in figure below, the switch S has been kept open for a long time and then it is closed at .
Find,
find the time constants of the circuit before and after the switch is closed
Answers:
, (To find find the Thevenin’s equivalent resistance)

## Slide 22: Q21
For the circuit shown below, switch S is kept in position ‘1’ for a long time and then it is moved to position ‘2’ at time . Find
The current expression for
Calculate the time constants of the circuit before and after the switching phases.
Answers: